###### REQUEST FOR PROPOSALS

A Guaranteed Energy Savings Contract

In accordance with the provisions of

West Virginia Code – Chapters 5A-3B-1 and 18-5-9A

for

XXXXXXXXXX

TABLE OF CONTENTS

RFP:  Instructions and Administrative Information

## ATTACHMENTS

Attachment A:  	Special Contract Terms and Conditions

Attachment B:  	Proposed Project Schedule

Attachment C:  	 ESCO Response

Attachment D:  	Evaluation Criteria

Attachment E:  	Technical Facility Profile

Attachment F:	Model Technical Energy Audit and Project Proposal Contract

Attachment G:  	Model Energy Performance Contract

Attachment H:  	Financing Bid Package

## Overview and Background

Xxxxxxx County Board of Education (hereinafter referred to as the Board) seeks proposals from Energy Services Companies (ESCO) to conduct a technical energy audit of facilities and implement an Energy Performance Contract.  The ESCO will identify and implement building improvements to reduce energy and related costs in facilities, such that annual cost savings are applied to annual payments for improvements.

The contracting process has three phases:

- Technical Energy Audit and Project Proposal Phase:  A contract for the Technical Energy Audit will be developed with the selected ESCO.  This investment grade audit will identify and evaluate cost-saving measures and define the proposed project scope, cost, savings and cash-flow over the proposed financing term.    A project proposal will present aggregated measures that can be financed through guaranteed savings.

- Construction/Implementation/Commissioning and Financing Phase:  An Energy Performance Contract will be negotiated following the audit.  This establishes the project scope and costs, and provides for construction and follow-up services to be provided during the financing term.  A separate financing agreement will be developed.

- Post-Construction Guarantee/Monitoring Phase: After construction, the ESCO will offer a variety of services to ensure savings are met, such as a savings guarantee, staff training, follow-up monitoring, and contract maintenance services.

## Proposal Submittal and Selection Process

  - POLICIES

    - All submittals shall become the property of the Board and will not be returned.

  - submittal INSTRUCTIONS

    - All submittals shall become the property of the Board and will not be returned.

    - Late submittals shall not be evaluated.

    - The Board reserves the right to reject any or all proposals on the basis of being unresponsive to these guidelines or for failure to disclose requested information.

    - The Board shall not be liable for any costs incurred by respondents in the preparation of submittals and proposals nor in costs related to any element of the selection and contract negotiation process.

    - Pre-proposal Conference

See Selection Process below for details.

    - Communications Regarding This RFP

Questions and requests for clarification on this Request for Proposals must be submitted in writing following the instructions posted in the Notice.  No verbal inquiries will be addressed.

Communication with Board officials, the Selection Committee, or others associated with Xxxxxxx County Schools with regard to this Request for Proposals is prohibited.

  - submittal FORMAT

    - Prepare proposals to respond to the items in the ESCO Response to Request for Proposals (Attachment C).  Follow the same sequence and state each number and question prior to your response.

    - Submit Request For Proposal Cover Sheet and submit five CD or DVD copies (IBM platform) of the submittals. Each copy of the CD or DVD shall include only two files, both in the .pdf format. The Response (Attachment C) shall be converted in entirety to a single .pdf formatted file and submitted on the CD or DVD. Similarly, the requested sample investment grade audit report shall be converted in its entirety to .pdf format and copied as a single file onto the same CD or DVD. Security protection of the pdf file is allowed, but printing shall be enabled.

    - Deliver proposals to:

Xxxxxxx County Board of Education

Xxxx Main St.

xxxxxxx

Attn: xxxxxxxx

## SUBMITTAL SCHEDULE

The following schedule has been established for this Request for Proposals. Note that this schedule may be subject to change.

|  | TASK | DATE/TIME |
| --- | --- | --- |
| 1. | RFP Published | March 11, 2014 |
| 2. | Pre-Proposal Conference | March 11, 2014 |
| 3. | Prospective Offeror(s)’ written inquiries | March 25, 2014 |
| 4. | Notification of Intent to Respond | March 18, 2014 |
| 5. | Proposal Responses Due | March 28, 2014 |
| 6. | Proposal Submission | April 1, 2014 |
| 7. | Proposal Review Period | April 15, 2014 |
| 8. | Interviews (if required) | April 22, 2014 |
| 9. | Notice of Intent to Award | April 25, 2014 |
| 10. | ESCO Contracts | TBD |

  - selection process

    - Pre-Proposal Conference and Site Visit.  A Pre-Proposal Conference will be held prior to the proposal due date. The purpose of the Pre-proposal Conference will be to review the requirements of this RFP and answer questions from ESCOs in attendance. The site visit is optional for all ESCOs who will later submit a proposal.

DATE:     	March 11, 2014

TIME:      	10:00 am

LOCATION:

Xxxxxxx County Board of Education

xxxxxx

xxxxxxx

Attn: xxxxx

Email: xxxxxxxxxxxxxxx

    - ESCOs intending to submit a proposal in response to this solicitation must indicate this intent in writing by March 18, 2014 to the contact above.

    - Review of Written Proposals.   Proposals must be prepared as described in Attachment C:  ESCO Response.  Proposers within the competitive range will be invited to participate in the interviews.

    - Interviews.   Interviews will provide an opportunity for clarification of the written proposal.  ESCO or representatives at the interview should include individuals who will be key points of contact and have major responsibility for contract negotiation, engineering and design, construction management and follow-up monitoring.  Each interview may be tape-recorded.   Scores from the written proposal will be modified based on clarifications and the top-ranking ESCO will be considered for award.

    - Final Selection.  Final reference checks will be conducted with the apparent awardee (top-ranked ESCO) prior to making the final selection.  An award will be made to the selected ESCO.

## Scope of Work

  - Energy Performance Contract Project Phases

    - Technical Energy Audit and Project Proposal Phase

Technical Energy Audit and Project Proposal Contract.

A Technical Energy Audit and Project Proposal Contract will be negotiated as presented in Attachment F: Model Contract for Technical Energy Audit and Project Proposal (also see Attachment A: Special Contract Terms and Conditions).

    - Construction/Implementation/Commissioning/Financing Phase

Energy Performance Contract.  Following successful completion and acceptance of the Technical Energy Audit and Project Proposal Contract, an Energy Performance Contract will be negotiated to implement the projects, as given in Attachment G:  Energy Performance Contract (also see Attachment A:  Special Contract Terms and Conditions).  Any or all performance contract agreements may be denied.

Financing Agreement.  The ESCO will solicit bids from a minimum of three financing companies, prior to negotiation of the energy performance contract, using the bid documents in Attachment H:  Financing Bid Package.   The Board will make the final selection.

  - ESCO sERVICES

ESCO must have the demonstrated capability in engineering and management to provide a broad range of services.   Services may include but are not limited to the following:

Technical Energy Audit and Project Proposal Phase

- technical energy audit to evaluate costs and savings of a variety of energy and water-saving  measures

- project proposal including financial analysis

- benchmarking using Energy Star tools

- monitoring and verification plan

- utility bill data services to capture credits from utility bill errors

Construction/Implementation/Commissioning and Financing Phase

- engineering design

- equipment procurement and purchasing

- construction management

- hazardous waste disposal or recycling

- ability to arrange financing

- commissioning

Guarantee/Monitoring Phase

- continuing operations and maintenance for all improvements

- staff training on routine maintenance and operation of systems

- training of occupants

- guarantee of performance and cost savings for the entire term of the contract

- monitoring and verification for measurement and reporting of the performance and savings

- provide for independent review of monitoring & verification (guaranteed savings pay for independent ESCO)

- analysis and application for Energy Star Label and/or LEED-EB (Leadership in Energy and Environmental Design for Existing Buildings, by the US Green Building Council)

- monitoring and reporting of emissions reductions

- maintaining long-term, high-efficiency performance of buildings

ESCO must have the technical capability to address a broad range of systems including, but not limited to:

- Mechanical Systems. Heating, ventilating and air conditioning (HVAC) systems, energy management and control systems, domestic hot water systems, distribution systems, etc.

- Lighting systems.  Indoor and outdoor lighting systems, lighting controls, daylighting strategies.

- Building envelope systems.  Windows, insulation, weatherization, etc.  (It is recognized that window replacements are rarely cost-effective, but could be considered as part of a comprehensive plan.)

- Specialty Systems:  laundry equipment, kitchen equipment, pool systems, renewable energy systems.

- Water and Sewage Systems.  automatic controls, low-flow faucet aerators, low-flow toilets, cooling tower modifications, pool covers, and irrigation system controls or modifications.

  - bUILDINGS, fACILITIES AND aPPROACH

All facilities owned, managed or operated by the Board at any time during the term of the performance contract will be considered for this work.  Specific facilities now operated by Board are listed in Attachment E:  Technical Facility Profile.  Additional facilities not yet identified that are under the jurisdiction of the Board at any time during the term of the performance contract can be included in the scope of work in a contract amendment.

Work may be conducted in phases where the detailed scope of work can be developed at any time during the term of the performance contract.

The performance contract can be amended at any time during the initial performance contract term to address other buildings or new projects.

The Board reserves the right to reduce the scope of work, to conduct the work in phases or to segment work in facilities based on technological improvements.

xxxxxxxxxxxxxxxxxxxx

ATTACHMENT  A:   SPECIAL CONTRACT TERMS AND CONDITIONS

Contract Documents.  The Model Technical Energy Audit & Project Proposal Contract (Attachment F) and the Model Energy Performance Contract (Attachment G) will be used.

Payment for Audit.  As given in the Model Technical Energy Audit & Project Proposal Contract (Attachment F):

Payment through Performance Contract.  The Board shall have the option to pay for the Technical Energy Audit, or reimburse the Board’s cost upon executing an Energy Performance Contract and securing project Financing.

The Board shall not be obligated to pay for a Technical Energy Audit cost greater than the total cost included in Attachment C, ESCO Response, Section 6.b. Fees.

Below are probable (but not limited to) funding sources to offset annual project payments:

The following payment sources will be considered in the audit:

- Annual energy cost savings

- Annual water and other utility cost savings

During negotiations, The Board may consider savings to include the following:

- Maintenance cost savings such as terminated service contracts on equipment.

Equity cash outlay:

- At option of the Board, an equity cash outlay, pending funding approval,  may be used to supplement savings

Maintenance and operation cost savings:  Savings will be limited to those that can be thoroughly documented and approved.   Such savings must only be attributed to the cash flow in years when savings will actually occur.

Contract Term.   The contract term is up to 15 years provided the cost-weighted average lifetime of the equipment exceeds the contract term.  The ASHRAE Book of Standards will be used in determining the cost-weighted average useful life of the equipment.

Annual Savings Exceed Annual Costs.  Annual savings shall exceed annual payments each and every year while the performance guarantee is in effect.  This means that excess savings in other years and interim savings during the construction period will not be allocated to meet shortfalls in any year.  Annual payments include debt service, ESCO fees, maintenance services, monitoring services, and other services.

Annual Guaranteed Cost Savings.   An annual contractual guarantee will be provided for the first three years of the contract, however, the guarantee shall be made available as a continued option for each subsequent year of the contract term.  The Board can cancel the guarantee at any time. The guarantee must provide for the sum of identified cost savings to equal or exceed the amount of the annual payment, where annual payment equals lease plus monitoring & verification fee plus required service, each and every year while the guarantee is in effect.

Interim Savings during Construction Period.  Savings accrued during the construction period will not be allocated to the annual savings of any year.  See “Annual Savings Exceed Annual Costs” above.

Excess Savings (beyond the guaranteed amount).   Excess savings will be retained by The Board and will not be allocated to shortfalls in savings in other years.  See “Annual Savings Exceed Annual Costs” above.

Use of Stated Cost Markups.  The individual cost markups disclosed in the proposal will be used in both the Technical Energy Audit and the Energy Performance Contract, provided the size and scope of the project remain similar. Cost markups presented in the proposal can be negotiated downward.

Open Book Pricing.  Open book pricing will be required, such that the ESCO will fully disclose all costs, including all costs of subContractors and vendors.  The proposer shall include a signed statement that none of the ESCO’s expenses and/or overheads shall be included in any way as part of the construction bids including subcontracting of typical ESCO project development activities.  This signed statement shall also assure to the Owner, that the only fees that will be charged, are those included on the attached Project Implementation Cost Form (Attachment C, Section 6).  The Owner will not pay any ESCO fees, expenses and/or overheads in addition to those included on the Project Implementation Costs form, at the time of original Proposal submission. To document this obligation, the ESCO shall provide actual signed subcontractor invoices (as backup) with each ESCO invoice.

ESCO will maintain cost accounting records on authorized work performed under actual costs for labor and material, or other basis requiring accounting records.  ESCO will provide access to records and preserve them for a period of three (3) years after final payment. Costs will be evaluated through price analysis to compare costs with reasonable criteria such as established catalog and market prices or historical prices.   Stated cost markups will be clearly applied.

Contingency.  Any unused contingency cost will not be retained by the ESCO and will be applied to the project.

Equipment Compatibility or Standardization.  All equipment installed that is comparable to similar equipment at the facilities, shall offer compatibility with existing systems, and/or be of the same manufacturer for standardization of equipment County-wide, unless excepted by The Board

Annual  Appropriations.  Annual payment is subject to annual appropriations.

Inflation and Escalation Rates.  Any inflation rates will be pre-approved by The Board.

Energy Escalation Rates.  Where the annual lease-purchase payments are set-up to escalate each year in anticipation of annually escalating energy cost savings, a calculator will be used to determine the maximum value as developed by the US Department of Energy for energy saving performance contracts in its Federal Energy Management Program.  The tool is on-line at:

http://www.eere.energy.gov/femp/techassist/softwaretools/softwaretools.html (EERC).

Monitoring and Verification Plan.  A monitoring and verification plan will be developed per guidelines in the energy performance contract and consistent with IPMVP (International Performance Measurement and Verification Protocol).

# ATTACHMENT  B:   PROPOSED PROJECT SCHEDULE

The following schedule is the proposed schedule, and may change during the project.

ACTIVITY										DATE

RFP Phase

ESCO Selection and Award								April 25, 2014

Technical Energy Audit Phase

Contract Negotiation									May 9, 2014

Board approval and signatures to execute audit contract				June 27, 2014

Audit, Final Report and Presentation	 					August 29, 2014

Energy Performance Contract Phase

Negotiation and Documentation							October 10, 2014

Board approval and signatures to execute contract				November 7, 2014

Installation 										To be determined

Commissioning/Monitoring Phase

Commissioning									To be determined

Monitoring										To be determined

Staff Training										To be determined

Proposed Contract Term								To be determined

Note:  This schedule is subject to change.

# ATTACHMENT  C:  ESCO RESPONSE

- An electronic copy of this RFP section is available for easier preparation.

- Please number and re-state each subheading or question, followed by your response.

- Number all pages.

## COVER SHEET

See cover sheet example at the end of this attachment.

## FIRM’S GENERAL APPROACH TO PERFORMANCE CONTRACTING

Describe performance contracting from your firm’s perspective, describing your phases and your firm’s ability to support each of the phases.  Provide a stand-alone overview, maximum of 5 pages, using any order or format to present your company as you wish.  Include highlights on company background, market sectors served, company strengths and areas of expertise.  Also include your general approach to performance contracting:  typical phases for a project and ability to support each phase (Project Development, Energy Auditing, Performance/Savings Guarantee, Financing, Construction, Commissioning, Measurement and Verification, Client Staff/Occupant Training, Post-construction Maintenance Support).

The purpose of this overview is to provide a good introduction of your firm to the evaluation committee.

2.  PROJECT HISTORY

- Project List.

List all energy performance contracts that your firm or personnel have managed within the last five years.  Include list as shown below.  Truncate the list at one page.

- PERFORMANCE CONTRACTING PROJECTS

| Project Name | City, State | Total Project $ | Year completed |
| --- | --- | --- | --- |

All projects listed should be those conducted only by your firm.  If you deem it relevant to list projects under contract to a different firm, clearly identify the name of firm responsible for the project and indicate why you’re including it as a reference for your company and for this project.

- OTHER PROJECTS (only if deemed relevant to this project)

If desired, also list related projects deemed relevant to this work, particularly those managed in the state.

| Project Name | Project Type | City, State | Total Project $ | Year constructed |
| --- | --- | --- | --- | --- |

- Project References

Provide detailed information on performance contract-based projects you want to showcase that have similarities to work related to this proposal.  Similarities could include type/use of building, size of individual buildings, size of total expected project, technical scope of projects, geographic region (work in this state or similar type of metro/rural region).  Include the following information on each project, as a minimum (no preferred format):

Project Identification:

Name.  Name of state department, university, school district, office building, etc.

Location.  city/state

Contact Information.  Names and contact information of owner(s)' representatives who can serve as references.

Project Information:

Project Type:  performance contract; other

Project Size.  Number of buildings, total square footage.

Project Dollar Amount: Total contract amount and the total project capital expenditure amount

Source of Funding:  Type of financing used and grants/rebates, etc.  Describe your involvement in securing funds.

Project Implementation Dates:  Date of audit beginning and acceptance, and construction start and acceptance.

List of Improvements.  Type of retrofits and operational improvements related to energy, water and other cost savings.

Project Performance:  State amounts of projected annual savings, guaranteed annual savings, and actual annual savings.

Project Personnel. State the name(s) of individuals involved in the project and their role.  Note if these personnel are assigned to The Board’s project.

Comments.  Comment on any special features, services, conditions, creative approaches, special needs of The Board, etc. that may be of interest.

All projects listed should be those conducted only by your firm.  If you deem it relevant to list projects under contract to a different firm, clearly identify the name of firm responsible for the project and indicate why you’re including it as a reference for your company and for this project.

- Relevant Experience - Overview of Strengths

Briefly summarize your project histories to define your firm’s strengths and the relevance of past work to this project (experience similar to this project in terms of size, scope, facility type; experience with types of retrofits applicable to this project; etc.).

## 3.   QUALIFICATIONS OF THE FIRM OR TEAM

- Background Information on the Firm

- Structure and Evolution of Firm.  Type of firm (corporation, partnership, sole proprietorship, joint venture); Name of parent company if applicable (include the name, main office address and parent company’s tax identification number).  Name of division or branch office if applicable; Name of current firm and number of years operating under this firm name; Former firm names if applicable and corresponding years in operation.  Structure of team if this is a joint venture.

- Years in Energy Business.  State the number of years your firm has been involved in the energy-efficiency related business.

- Years in Performance Contracting.  State the number of years your firm has offered performance contracting services.

- Number of Performance Contracting Projects.   State the number of performance contracting projects completed by your firm.  Number under $1 million.  Number over $1 million.

## Financial Qualifications & Stability of Firm

- Financial Soundness.  Describe the financial soundness and stability of the firm.

- Profitability.  Has your firm or parent company been profitable each year for the past three years?

- Financial Report.  Submit the most recent annual summary (1-3 pages) of the annual Statements of Financial Conditions, including balance sheet, income statement and statement of cash flows, dated within the past twelve (12) months, along with name, address, and the telephone number of firm(s) that prepared the Financial Statements.

- Bonding.  Current bonding capacity; confirmation that firm is currently bondable for 100% of a payment bond for construction of this project; 100% of a performance bond for construction of this project; letter from a licensed surety as evidence of ability to bond for each of these categories.

c.	Industry Accreditations

State if your firm is accredited by industry organizations, such as the National Association of Energy Service Companies (NAESCO), or pre-qualified for work through the U.S. Department of Energy for federal facilities or the U.S. Department of Defense.  Describe the relevance or importance of any accreditations or pre-qualifications with regard to this project.

d. 	Compliance with Requirements

Affirm your ability to meet requirements:   “Yes, this firm or team responding to this proposal understands the requirements specified in Attachment A:  Special Contract Terms and Conditions, Attachment F:  Technical Energy Audit and Project Proposal Contract, and  Attachment G:  Energy Performance Contract and can abide by them.  And, this firm has reviewed related legislative requirements.”

## 4.	PERFORMANCE CONTRACTING CAPABILITY & TECHNICAL APPROACH

a.	General Scope of Services

Following is a minimum scope of services acceptable to compete for an energy performance contract.  Add a brief comment for each item (25 words or less preferred) to demonstrate your capability for each.

  - Energy systems in buildings, facilities and infrastructure:

Mechanical/Electrical Systems

- Lighting: indoor and outdoor

- Heating

- Ventilation and indoor air quality issues

- Cooling

- Control and building automation

- Fuel switching

- Central plant

- Water-consuming

Renewables

- Daylighting

- Solar-electric

- Solar thermal

- Geothermal

- Wind, small-scale or large-scale

- Biomass

- Distributed generation

Specialty Systems or Specific Building Types

- Kitchen or laundry

- Laboratories, clean rooms

- Healthcare hospitals, nursing homes, clinics

- Swimming pools and recreational facilities

- Computer laboratories

Energy Management Services:

- Energy management

- Utility bill auditing and bill payment (identifying errors and collecting credits)

- Energy Star Portfolio Manager, benchmarking

- LEED for Existing Buildings

- Commissioning/re-commissioning

- LEED-NC support for any new building/addition project

- LEED-EB support to help the agency become LEED-EB certified

Other

- Transportation – fleet fuel management, etc.

- Other

- Project Development and Implementation

- Energy auditing (identify potential energy-saving measures, determine savings projection based on standard energy engineering principles; estimate project costs; present package of measures with cash flow)

- System design engineering: mechanical, electrical, etc.

- Procurement, bidding

- Construction

- Commissioning of projects and retro-commissioning of existing buildings

- Project management

- Identification of asbestos and other hazardous materials and abatement, recycling or disposal as applicable

- Core Performance Contracting Services

- Performance guarantee for every year of the financing term

- Insurance per contract requirements

- Equipment warranties

- Ability to facilitate financing including a municipal, tax-exempt lease purchase

- Measurement and verification of savings

- Training: maintenance staff and occupants

- Support Services

- Long-term maintenance services on energy systems

- Application for an Energy Star Label and LEED certification.

- Calculation and reporting of emissions reductions

b.	Performance Contracting Technical Approach

- Performance Guarantee.  How is a performance guarantee provided (self-guarantee or third party) and describe the value of this approach?

- Insurance.  How is insurance provided (self-guarantee or third party) and describe the value of this approach?

- Warrantees.  Who provides warrantee service (ESCO or manufacturer)?  How is this provided?  Describe the value of this approach.

- Standards of Comfort.   Describe standards of comfort that are generally used for light levels, space temperatures, ventilation rates, etc. in the intended facilities.   Describe any flexibility.

- Baseline Calculation Methodology.  Describe in detail the methodology your firm normally uses to compute baseline of energy and water use as well as performance.

- Project Schedule.  Comment on your ability to meet the schedule and the reasonableness of the schedule.

- Sample Technical Audit.

Submit a sample technical audit conducted by your firm for a similar project (as directed in the Proposal Submittal Information).

- Briefly describe this sample audit.  It should be representative of the type of facility and the type of audit that will be conducted.

- Verify that this audit includes detailed energy and economic calculations.

- Verify that it was conducted by a current member of the team proposed for this project.

- Financing Company

ESCO will be required to solicit bids for financing on behalf of the Board. (Since the Board will sign a separate agreement with the financing company, the Board will review bids, select desired firm, and develop the financing agreement.)   To solicit bids, ESCO will use the RFP and supplemental information provided in Appendix H (Financing Bid Package).

- Identify three financing companies that you recommend as qualified to provide municipal tax-exempt financing for this project.

- Provide letters of qualifications and references from each firm.

- Site-Specific Approach

- Types of Services.  Summarize the scope of services (auditing, design, construction, monitoring, operations, maintenance, training, financing, etc.) identified for this project.

- Potential Projects.   Based on your preliminary assessment of the information provided, describe any equipment modifications, installations or replacements at the facility that your firm would consider installing as a part of this project.  Address energy, water and LEED-EB opportunities related to operation and maintenance. Also describe any special features, renewable technologies, or advanced technologies that might be applicable. Describe any special features or services associated with your proposed improvements that would add value to The Board.  Describe your approach to achieve compatibility (such as open systems) and/or standardization of equipment in the facilities to be addressed.

5.  MANAGEMENT AND STAFFING FOR THIS PROJECT

This section applies to this project, with an emphasis on local capability/service.

a.  Management

- Coordination.  Describe your firm's approach to managing this project.  Include an organizational chart showing clear lines of communication and responsibility.  Describe the transition and responsible parties from the sales to auditing phase, auditing to construction phase, construction to follow-up monitoring phase, etc.

- Construction Management. Describe how your firm would work with current building management and maintenance personnel in order to coordinate construction and avoid conflicts with the building’s operation and use. Describe your flexibility and/or any limitations regarding possible Board activities such as:  management of additional energy and water projects, monitoring of installation and performance of ESCO projects, integration of other identified capital needs with ESCO projects which may or may not contain energy and water saving opportunities.

- In-house Capability vs. Subcontractors.  Generally describe the types of services (both professional and construction services) that you offer in-house and the services you offer through subcontractors, and describe the strategy behind in-house vs. subcontractor use.  (Detailed information on pricing of subcontractors is requested in the Cost Section below.) ESCO’s that intend to self perform the installation services must fully disclose this intent. Note well that ESCO’s that intend to self perform installation services must also obtain pricing from up to four companies for the supply and installation of the proposed equipment. The Board must be assured that they are receiving “fair market” pricing for all equipment and installation.  Opinions of cost or estimates from third party companies will not be considered an adequate substitute for the above described pricing process.  The ESCO will have the option to self perform the work for the price of the lowest price obtained or to hire the contractor with the lowest price as a subcontractor.

- Board Involvement.  Describe how you engage the Board in decision-making regarding project scope, equipment specifications, ongoing operational and maintenance strategies, etc., and how you incorporate Board’s needs.

- Local Staffing and Support.  Describe extent of local staffing and support for the geographic region.  Include basic job descriptions and capabilities of the local staff.  Describe the relevance or importance of local presence with regard to this project.

- Long-term Servicing.  Describe long-term servicing of equipment and systems.  State the location of your nearest servicing office.

## b.  Personnel Information.

- Qualifications and Experience of Staff Assigned to this Project.  Identify the individual who will have primary responsibility for each task and phase of the project.  List name, title, intended role and responsibilities for the duration of the contract, educational background, specific qualifications related to role and responsibilities, past relevant experience, number of years of relevant experience, supervisory responsibilities if relevant, list of projects individual was associated with during the last five years including type of project and project cost and resume. Tasks and phases to address include technical analysis, engineering design, construction management, construction, training and post-contract monitoring. Indicate the percent of time each person is available to work on this project.  Indicate their office location (city/state).

- Added Qualifications and Experience.   Describe any added expertise and capability of staff available through the parent company, other subcontracts, etc. to provide back-up strengths in technical analysis, engineering design, architectural design (if applicable), construction management, construction, training and post-contract monitoring, etc.

- Self-Performed Work or Subcontractors.

    - State whether work is completed by the ESCO or by a subcontractor for each category of measure (auditing, design, procurement/supply of equipment from vendors and manufacturers, engineering, construction management services, lighting, HVAC, controls, monitoring & verification, etc.),

    - Describe how subcontractors are selected.  Also comment on your ability to competitively select subcontractors.

    - Identify any subcontractors already selected.

6.	COST AND PRICING

- Markups

Markups represent a percentage added to the base cost for the project.  Markup costs are disclosed to provide a typical project costing approach for a project of similar scope and size.  This disclosure will provide the open book pricing structure to be used by the ESCO for this project.  The markups will be used in the Technical Energy Audit Contract and Energy Performance Contract.  (A substantial change in the scope and size of the project may necessitate renegotiation of the markups.)

Provide your company’s proposed maximum allowable markups in the schedule below for each category listed on the schedule.

For the purpose of calculating the construction mark-up percentages below, the unburdened construction cost shall be defined as the value of the final construction cost paid for facility improvements without any additional mark-up by the ESCO. (The use of margins in lieu of markups is not acceptable.)  Construction shall be defined as the cost of the facility improvement work and shall not include any of the activities listed on the following Mark-up and Fee Tables.

This format is required and must be completed in its entirety.  Use only the categories provided.  Ranges for markups are not acceptable.  If the ESCO intends to use their own labor and/or materials, the unburdened construction cost shall be market price for those services.

Clearly indicate (mark by page) if elements of this section are requested to be treated as proprietary (the responsible Purchasing official will make the final decision if this is to be treated as proprietary).

| MARK-UPS |  |  |
| --- | --- | --- |
| CATEGORY OF MARK-UP | MARK-UP APPLICATION | % MARK-UP |
| Overhead |  |  |
| Profit |  |  |
| Labor – Internal |  |  |
| Equipment Purchased |  |  |
| Materials Purchased |  |  |
| Subcontract Labor |  |  |
| Subcontract Material |  |  |

Clearly describe how self-performed work will be charged (billed hourly, billed as a markup of equipment and labor costs, etc.). If self-performed work will be billed hourly, include markups proposed to be applied to the hourly rate.

If a proposal is from a joint venture partnership, include proposed maximum allowable markups in the schedule format above for each participating company.

- Fees

Provide your company’s proposed maximum allowable fees in the schedule below for each category listed on the schedule. This format is required and must be completed in its entirety.  Use only the categories provided.  Ranges for fees are not acceptable. If a proposal is from a joint venture partnership, provide proposed maximum allowable fees in the schedule format below for each participating company.

| FEES |  |  |
| --- | --- | --- |
| CATEGORY OF FEE | How Determined and Used | Years Applied (One-time, Annual, etc.) |
| Technical Energy Audit and Project Development | $ ________ per Square Foot | One time |
| Solicit & Evaluate Project Financing Proposals |  |  |
| Design | (Example) ___% of __________ |  |
| Contingency |  |  |
| Permits |  |  |
| Performance Bond |  |  |
| Project Management |  |  |
| Commissioning |  |  |
| Training |  |  |
| Monitoring and Verification |  |  |
| Warranty Service |  |  |
| Maintenance on Installed Measures |  |  |

Unclear fee descriptions will be considered not in the best interest of the Board.  The Board will not pay for any additional costs above the unburdened construction cost that are not identified in this proposal.

Provide the proposed maximum fee for Technical Energy Audit and Project Proposal on a cost per square foot basis. The company agrees that the proposed maximum fees shall incorporate its responsibility to adhere to and complete the full scope of work as presented in the Standard Technical Energy Audit and Project Proposal Contract.

For each fee category listed on the schedule describe how that fee is determined, how the fee is charged to the project and when it is applied. For example, fees might be based on a percentage of project cost.  Markups on fees are not allowable.

- Audit Cost

- Total Cost.  State the total cost of the technical energy audit.  Ensure that your cost is based on the approach and requirements included in Attachment F:  Model Technical Energy Audit and Project Proposal Contract.  For the purpose of this evaluation, assume all facilities listed in Attachment E: Technical Facility Profile will be audited.

- Unit Cost.  State the cost per square foot of the audit.  This cost will be evaluated on the basis of reasonableness, so an unrealistically high or low cost will be devalued in the evaluation process.

- Meet Full Scope of Work of Audit Contract.  State your capability to complete the full scope of work as presented in Attachment F:  Model Technical Energy Audit and Project Proposal Contract, within your proposed cost.

- Contingency

Describe your company’s typical level of contingency budget for lighting, electrical, mechanical, controls projects, and other projects and how it proposes to apply contingency to cover changes in work scope and subcontractor change orders. Note that all unused contingency funds will revert to the Facility Owner or be applied to additional work scope through a change order approved by the Facility Owner.

State how the contingency will be applied to cover changes in work scope and subcontractor change orders.  State the typical level of contingency budget for lighting, electrical, mechanical, controls projects, and other projects.

Note that all unused contingency funds will revert to the Board or be applied to additional work scope through a State approved change order.

- Equipment/Labor Cost Competition

Describe your company’s process to solicit bids on equipment/labor or to ensure price/cost competition and the best value for the Facility Owner.

- Open Book Pricing

Open book pricing is full disclosure by the ESCO to the Facility Owner of all costs and markups for materials, labor, and services received during the project development, implementation, and performance period phases. Open book pricing will be required such that all costs, including all costs of subcontractors and vendors, are fully disclosed. Describe your company’s approach to open book pricing and its method for maintaining cost accounting records on authorized work performed under actual costs for labor and material, or other basis requiring accounting records.

- Application of Markups and Fees (Hypothetical Example)

Provide a sample of your pricing model using a two-measure performance contracting project.  Show the complete detail of what will be provided to the Board in the actual project using the markups and fees you will commit to in the actual project, as identified above, for all categories, fees and services that will be seen in the actual project.

Include a sample project proforma and clearly indicate all fees required for monitoring & verification, project management and all services that may be included in the actual project, including the audit cost.  All markups and fees used in this example must be representative of what will be used in the actual project.

Additional markups, fees, or service category costs not shown in this example will NOT be allowed in the final contract.

Incomplete information will be considered an incomplete response and cause the response to be rejected.

  - Provide an example lighting measure that relates to this project in size and scope.  Provide all pricing documentation as you will provide it for open book pricing in the final contract.  Clearly differentiate the subcontracted portion of the project and break out labor, materials and other categories as you will for open book pricing.

  - Provide same information for an example boiler measure (or other heating/cooling equipment if a boiler replacement is not relevant for this project)

  - Show the two measures above in a complete two-measure performance contracting project.  Provide a proforma to clearly indicate all costs and fees represented as they will be applied in the final contract.  Use the format and structure you will use in the final contract.

- Best Value.  Briefly describe how your approach to performance contracting delivers best value for the investment.  This is an opportunity to point out how your company may be able to deliver a more cost-effective overall project due to corporate structure, relationships with vendors, depth of experience and expertise, local relationships and experience, experience in similar types of facilities, knowledge of particular retrofits, etc.  Also describe any utility rebates or other financial incentives or grants can potentially provide and/or facilitate.

| REQUEST FOR PROPOSALS For Energy Performance Contracting Services COVER SHEET |  |
| --- | --- |
| Publish Date: | Date |  |  |
| Return all Proposals to: | Xxxxxxx County Board of Education 1200 Main St. Point Pleasant, WV 25550 | Purchasing Agent: | Gary Hendricks |
| Per the attached specifications, terms and conditions |
| F.E.I.N.: |  | Payment Terms: (Minimum of Net 30) |  |
| Delivery Date: |  |  |  |
| Authorized Signature: |  |
| Typed/Printed Name: |  |
| Title: |  |
| Company Name: |  |
| Address: |  |
| City: |  | State: |  | Zip: |  |
| Phone Number: |  | Fax Number: |  |
| Contact for Clarifications: |  |
| Title: |  |
| Phone Number: |  | Fax Number: |  |
| E-mail Address: |  |
| IMPORTANT: The following information must be on the outside of the Bid Return Envelope: |

ATTACHMENT  D:  EVALUATION

WRITTEN PROPOSALS

The Evaluation Team will identify scoring weights for each section, with the “Cost and Pricing” section equaling a minimum of 30% of the total score of the written response to this RFP.  The weights of criteria will be determined by the Evaluation Team.

The Evaluation Team recognizes it is premature to place a major emphasis on projected financial benefits prior to the completion of the Technical Energy Audit, because the Audit will define the potential scope and cost benefit.  Therefore, the most emphasis will be on qualifications and less emphasis will be placed on the cost information.

INTERVIEWS

ESCOs in the competitive range will be invited for an oral interview.  The proposal scores will be modified based on clarifications to responses provided in the interview.

# SELECTION

# The Evaluation Team will identify the apparent awardee and then contact references to complete the evaluation.

# With quality references, the apparent awardee will be notified of selection; otherwise, the same process will be used with the second-ranked ESCO.

ATTACHMENT E:  TECHNICAL FACILITY PROFILE

The information in this technical facility profile is provided to inform the ESCO about the condition of the facilities. The information was prepared with diligence. The ESCO is responsible for verifying the accuracy, as necessary.

Building List

| Building name | SQFT | Year Built | Annual Utility Cost |
| --- | --- | --- | --- |
| Totals: |  |  |  |

ATTACHMENT F: Technical Energy Audit & Project Proposal Contract

OVERVIEW:

This Technical Energy Audit & Project Proposal Contract is the first of two contracts with the selected ESCO.  The ESCO will complete an investment grade technical energy audit that will include an analysis of each proposed project with projected energy and cost savings and itemized project cost.  The ESCO will also propose terms for the performance contract and present a proposal that includes recommended projects, financing term and projected annual cash-flow analysis.  The results of the audit will form the basis for a subsequent Energy Performance Contract.

The complete contract is under a separate electronic file for easier use.

ATTACHMENT G: Model Energy Performance Contract

OVERVIEW:

This Energy Performance Contract is for design, construction, guarantee, and follow-up monitoring of energy-saving projects.   An energy audit was previously completed that identified the costs and savings of each project.  The audit provides the basis to develop and negotiate this Energy Performance Contract.

The complete contract is under a separate electronic file for easier use.

ATTACHMENT H: Financing Solicitation Package

The complete package is under a separate electronic file for easier use.

OVERVIEW

The ESCO is expected to conduct a competitive bid process to select a financing firm to satisfaction of Board.

Table of Contents

Request for Proposal for Financing

Lease Contract

Financing Proposal Letter

Signature Sheet

Overview of Facility Improvement Projects